## Table 1
1. Project & Site Details | Project / Site Name (including sub- catchment / stage / phase where appropriate)
Address & post code
| OS Grid ref. (Easting, Northing) | E
N
LPA reference (if applicable)
Brief description of proposed work
| Total site Area | m2
| Total existing impervious area | m2
| Total proposed impervious area | m2
Is the site in a surface water flood risk catchment (ref. local Surface Water Management Plan)?
Existing drainage connection type and location
Designer Name
Designer Position
Designer Company

## Table 2
2. Proposed Discharge Arrangements | 2a. Infiltration Feasibility
Superficial geology classification
Bedrock geology classification
| Site infiltration rate | m/s
| Depth to groundwater level | m below ground level
Is infiltration feasible?
2b. Drainage Hierarchy
|  |  | Feasible (Y/N) | Proposed (Y/N)
1 rainwater use as a resource (for example rainwater harvesting, blue roofs for irrigation)
2 rainwater infiltration to ground at or close to source
3 rainwater attenuation in green infrastructure features for gradual release (for example green roofs, rain gardens)
4 rainwater discharge direct to a watercourse
5 controlled rainwater discharge to a surface water sewer or drain
6 controlled rainwater discharge to a combined sewer
2c. Proposed Discharge Details
Proposed discharge location
Has the owner/regulator of the discharge location been consulted?

## Table 3
3. Drainage Strategy | 3a. Discharge Rates & Required Storage
|  | Greenfield (GF) runoff rate (l/s) | Existing discharge rate (l/s) | Required storage for GF rate (m 3 ) | Proposed discharge rate (l/s)
Qbar
1 in 1
1 in 30
1 in 100
1 in 100 + CC
| Climate change allowance used |  | %
3b. Principal Method of Flow Control
3c. Proposed SuDS Measures
|  |  | Catchment area (m 2 ) | Plan area (m 2 ) | Storage vol. (m 3 )
| Rainwater harvesting |  | 0 |  | 0
| Infiltration systems |  | 0 |  | 0
| Green roofs |  | 0 | 0 | 0
| Blue roofs |  | 0 | 0 | 0
| Filter strips |  | 0 | 0 | 0
| Filter drains |  | 0 | 0 | 0
| Bioretention / tree pits |  | 0 | 0 | 0
| Pervious pavements |  | 0 | 0 | 0
| Swales |  | 0 | 0 | 0
| Basins/ponds |  | 0 | 0 | 0
| Attenuation tanks |  | 0 |  | 0
| Total |  | 0 | 0 | 0

## Table 4
4. Supporting Information | 4a. Discharge & Drainage Strategy |  | Page/section of drainage report
Infiltration feasibility (2a) – geotechnical factual and interpretive reports, including infiltration results
Drainage hierarchy (2b)
Proposed discharge details (2c) – utility plans, correspondence / approval from owner/regulator of discharge location
Discharge rates & storage (3a) – detailed hydrologic and hydraulic calculations
Proposed SuDS measures & specifications (3b)
| 4b. Other Supporting Details |  | Page/section of drainage report
Detailed development layout
Detailed drainage design drawings, including exceedance flow routes
Detailed landscaping plans
Maintenance strategy
a) Tasks and frequencies for proposed features
b) Maintainence owner(s)
Demonstration of how the proposed SuDS measures improve:
a) water quality of the runoff?
b) biodiversity?
c) amenity?